## Sheet1
Work Order | Description | Type | Location | Trade | Status | ICB | Schedule Start | Reported Date | Report Year | Report Month | Report Day | Report Yearday | Report Weekday | Report Hour | Mechanical Order | General Order | Electrical Order | Construction Order | Audio Order | Safety Order | Room Number | Floor Number
3230 | 503 p check noisy ceiling vent | CM | 01-000 | SM | CLOSE | 116190 |  | 2010-01-18 13:15 | 2010 | 1 | 18 | 18 | 0 | 13 | 1 | 0 | 0 | 0 | 0 | 0 | 503p | 5
3276 | 503 p check noisy ceiling vent sound like valve water hammer | CM | 01-000 |  | CLOSE | 116199 |  | 2010-01-19 11:06 | 2010 | 1 | 19 | 19 | 1 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 503p | 5
4201 | room 562 mwrm check leak sink | DN | 01-000 | PP | CLOSE | 116071 |  | 2010-02-10 11:41 | 2010 | 2 | 10 | 41 | 2 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 562 | 5
4227 | 5th floor mwrm sink leaking | DN | 01-000 | PP | CLOSE | 116071 |  | 2010-02-11 08:48 | 2010 | 2 | 11 | 42 | 3 | 8 | 1 | 0 | 0 | 0 | 0 | 0 | 562 | 5
4363 | 5th mwr sink leaking | DN | 01-000 | PP | CLOSE | 116071 |  | 2010-02-17 10:36 | 2010 | 2 | 17 | 48 | 2 | 10 | 1 | 0 | 0 | 0 | 0 | 0 | 562 | 5
5402 | mar 15th10 repair tap 5th floor mwrm | DN | 01-000 | PP | CLOSE | 116071 |  | 2010-03-15 10:46 | 2010 | 3 | 15 | 74 | 0 | 10 | 1 | 0 | 0 | 0 | 0 | 0 | 562 | 5
5456 | march 16th 10 503 k need 1 ballast | DN | 01-000 | EE | CLOSE | 116171 |  | 2010-03-16 10:56 | 2010 | 3 | 16 | 75 | 1 | 10 | 0 | 0 | 1 | 0 | 0 | 0 | 503k | 5
5650 | room 503z key wont unlock door | CM | 01-000 | LO | CLOSE | 116070 |  | 2010-03-22 14:46 | 2010 | 3 | 22 | 81 | 0 | 14 | 0 | 0 | 0 | 1 | 0 | 0 | 503z | 5
5666 | 5th floor outside room 512 sound like water leaking ceiling | DN | 01-000 | PP | CLOSE | 116071 |  | 2010-03-23 09:20 | 2010 | 3 | 23 | 82 | 1 | 9 | 1 | 0 | 0 | 0 | 0 | 0 | 512 | 5
5689 | 5th wwr toilet wont flush | DN | 01-000 | PP | CLOSE | 116071 |  | 2010-03-23 13:47 | 2010 | 3 | 23 | 82 | 1 | 13 | 1 | 0 | 0 | 0 | 0 | 0 | 564 | 5
5972 | room 512 warm stuffy | DN | 01-000 | CT | CLOSE | 116064 |  | 2010-03-30 14:07 | 2010 | 3 | 30 | 89 | 1 | 14 | 1 | 0 | 0 | 0 | 0 | 0 | 512 | 5
6081 | room 512 hot cold air | DN | 01-000 | CT | CLOSE | 116064 |  | 2010-03-31 16:19 | 2010 | 3 | 31 | 90 | 2 | 16 | 1 | 0 | 0 | 0 | 0 | 0 | 512 | 5
6091 | room 511 pull door tight jiggle key lock unlock door | CM | 01-000 | LO | CLOSE | 116070 |  | 2010-04-01 08:39 | 2010 | 4 | 1 | 91 | 3 | 8 | 0 | 0 | 0 | 1 | 0 | 0 | 511 | 5
6120 | hc stall 5th floor wwrm toilet leaking back | DN | 01-000 | PP | CLOSE | 116071 |  | 2010-04-01 15:37 | 2010 | 4 | 1 | 91 | 3 | 15 | 1 | 0 | 0 | 0 | 0 | 0 | 564 | 5
6258 | wwrm 5th floor torythe second stall door lock seems broken stuck locked door | DN | 01-000 | CY | CLOSE | 116072 |  | 2010-04-08 10:55 | 2010 | 4 | 8 | 98 | 3 | 10 | 0 | 0 | 0 | 1 | 0 | 0 | 564 | 5
6396 | 5th floor mwrm middle urinal keep running | DN | 01-000 | PP | CLOSE | 116071 |  | 2010-04-13 10:36 | 2010 | 4 | 13 | 103 | 1 | 10 | 1 | 0 | 0 | 0 | 0 | 0 | 562 | 5
7558 | 5th floor mwrm blocked toilet | DN | 01-000 | PP | CLOSE | 124287 |  | 2010-05-11 10:35 | 2010 | 5 | 11 | 131 | 1 | 10 | 1 | 0 | 0 | 0 | 0 | 0 | 562 | 5
8643 | room 503 juliets desk check advise proceed power bar plugged another | CM | 01-000 | EE | CLOSE | 124277 |  | 2010-06-10 15:46 | 2010 | 6 | 10 | 161 | 3 | 15 | 0 | 1 | 0 | 0 | 0 | 0 | 503 | 5
8749 | room 512d air movement | DN | 01-000 | CT | CLOSE | 124265 |  | 2010-06-14 16:16 | 2010 | 6 | 14 | 165 | 0 | 16 | 1 | 0 | 0 | 0 | 0 | 0 | 512d | 5
9994 | 5th wwr sink slow drain | DN | 01-000 | PP | CLOSE | 124295 |  | 2010-07-22 13:51 | 2010 | 7 | 22 | 203 | 3 | 13 | 1 | 0 | 0 | 0 | 0 | 0 | 564 | 5
10074 | room 511 air circulation nop ac | DN | 01-000 | CT | CLOSE | 124409 |  | 2010-07-26 09:03 | 2010 | 7 | 26 | 207 | 0 | 9 | 1 | 0 | 0 | 0 | 0 | 0 | 511 | 5